FRANCONIA WATER DEPARTMENT

MEETING MINUTES

AUGUST 9, 2016

The Franconia water commissioners met at the Franconia town hall this morning.  The meeting was called to order at 8:30 A.M.

Members present: Marcia Graham, Mac McLachlin and Ray Peltier.

Also present: Pete Hilton from LRW.

Approved the minutes of July 7, 2016.

Replaced the pump, motor, wires, transducer and galvanized pipe at the Gale well.  ($7,200).

The following week replaced the pump, motor, wires, transducer and galvanized pipe at the Howe well.  ($7,000).

Bruce Lewis from Lewis Engineering will no longer be working for us.  Peter will contact Horizan Engineering to set up a meeting.

Approved parts list and cost from HD supply for a major Mittersill project to begin just after Labor Day at the Mittersill Inn.  ($10,576.82).

DN Tanks quoted the following for the Mittersill storage tank:

Clean and coat the tank exterior.  $25,000-$30,000.

Clean and coat the interior tank walls (operating range).  $30,000-$35,000.

GridBee mixing system (to prevent water from freezing).  $20,000.

These 3 items will be done piecemeal as funds in our account improves.

Discussed the issue with 31 Plantation Road.  Keith Batchelder contracted with Presby to add a second water line on his property.  After the job was completed he did not want the Water Department to charge the quarterly rental on that second meter.  He felt that he should have been told of the second charge before the installation.  We told him that he never spoke to anyone on the Water Department prior to contracting with Presby.

The above account (#453) has not as yet been billed.  It will be billed as soon as we figure out how to set it up in the computer.  Account #452 has still not been billed.  The meter was installed several months ago.  We will send a supplemental bill when that account is set up in the computer.

We discussed possible adjustments to our billing (meter rentals and water use).  No decisions have been made.

We are looking at a great deal of expenses this year but have no real idea where we stand financially.  We are waiting for up to date figures showing our income and expenses to be provided to us so that we can plan the projects itemized above.